**Flow chart of (Solar/Wind Generation) Interconnection Process**

**MEPCO Net Metering**

**Eligible DG submits application along with required documents in MEPCO Office (Schedule II of Regulations)**

Application Process

**MEPCO provides acknowledgement whether application is complete or Not.**

NO

**If application is incomplete, applicant will provide documents within 7 days.**

YES

**Utility Review Process**

**If application is complete MEPCO performs an initial review to see whether it qualifies for interconnection facility.**

**In case proposed facility is not technically feasible MEPCO informs about reasons of rejection within 3 working days after completion of initial review.**

NO

**MEPCO performs technical feasibility verification within 20 days.**

YES

**If facility is technically feasible MEPCO approves installation of SRTPV +& enters into an agreement within 10 days (Schedule-I of Regulations).**

**Agreement signing and Licensing**

**MEPCO sends copy of agreement to NEPRA within 7 working days of its signing. MEPCO shall forward the application for grant of License (Schedule-II of Regulations)**

**Distributed Generator Facility**

**Solar/Wind energy resource for generation of electricity from 1 KW to 1 MW**

**MEPCO will issue connection charge estimate within 7 working days of agreement signing.**

**Applicant shall make payment of estimate within 20 days.**

**Eligible Distributed Generator**

**3 Phase 400V or 11 KV Consumers with proper sanctioned Load as per Solar Generation i.e. Domestic, Commercial, Agricultural or Industrial, who owns operates Distributed Generated Facility**

**MEPCO shall install/Commission the DG facility within 30 days of payment of Demand Notices.**

**Net Metering shall commence in upon grant license to DG in accordance with in Regulation IV of these regulations.**

**Billing**

**The file is sent for Billing**