**STEPS FOR NET METERING (Solar/ Wind Generation) APPLICATION PROCESS**

* **Distributed Generator Facility**

**Solar/Wind energy resource for generation of electricity from 1KW to 1MW.**

* **Eligible Distributed Generator**

**3 Phase 400V or 11 KV Consumers with proper sanctioned Load as per Solar Generation i.e. Domestic, Commercial, Agricultural, Government connections, general services or single point bulk supply or Industrial, who owns operates Distributed Generated Facility. The capacity of a proposed Distributed Generation Facility shall not exceed one and a half of the sanctioned load of the Applicant's premises**

* **Eligible DG submits application along with required documents in MEPCO Office (Schedule II of Regulations)**
* **MEPCO provides acknowledgement whether application is complete or Not.**
* **If application is complete MEPCO performs an initial review to see whether it qualifies for interconnection facility Or Not.**
* **If application is incomplete, applicant will provide documents within 7 days**
* **If application is complete MEPCO performs an initial review to see whether it qualifies for interconnection facility.**
* **MEPCO performs technical feasibility verification within 20 days.**
* **In case proposed facility is not technically feasible MEPCO informs about reasons of rejection within 3 working days after completion of initial review.**
* **If facility is technically feasible MEPCO approves installation of SRT PV+ & enters into an agreement within 10 days (Schedule-I of Regulations).**
* **MEPCO sends copy of agreement to NEPRA within 7 working days of its signing. MEPCO shall forward the application for grant of License (Schedule-II of Regulations)**
* **MEPCO will issue connection charge estimate within 7 working days of agreement signing.**
* **Applicant shall make payment of estimate within 20 days.**
* **MEPCO shall install/Commission the DG facility within 30 days of payment of Demand Notices.**
* **Net Metering shall commence in upon grant of license to DG in accordance with in Regulation IV of these regulations.**
* **The file is sent for Billing**